## Slide 1
IOS App Screenshots

## Slide 3
Login Page
BLE SSL Search list down
Tap here
Tap here

## Slide 4
Connected
Lamp Configuration
1st Tap here
2nd Tap here
Pole No. to be given manually
Location to be given manually
Tap here to enter Wattage setting page
Tap here to enter Dimming/ Timer setting page
Identification On/Off control
Default Configuration setting for loading same setting at multiple Street Lights
Existing App

## Slide 5
Entering Configuration
On/Off control Identification
Identification On/Off control to identify connected Street light

## Slide 6
Configuration Setting
Wattage Setting
Manually also wattage can be set
Predefined wattage can be scrolled
Tap here to enter Wattage setting page

## Slide 7
Configuration Setting
Dimming/Timer Setting
Tap here to enter Dimming/ Timer setting page
Predefined Dimming percentages settings can be scrolled
Predefined Timer duration settings can be scrolled

## Slide 8
Configuration Saved
Street Light Parameters
Pop-up comes after all parameters are set & configuration is saved completely
Load parameters
Solar
Parameters
Battery
parameters

## Slide 9
Street Light Parameters
Solar Parameters
Tap here
To enter Solar
Parameters Page
Total Wh Discharge vs Wh Charged for last 3 days

## Slide 10
Street Light Parameters
Battery Parameters
Tap here
To enter Battery
Parameters Page

## Slide 11
Modification Suggested
in
Enviro Smart App

## Slide 12
Connected
Lamp Configuration
1st Tap here
2nd Tap here
Pole No. to be given manually
Location to be given manually
Tap here to enter Wattage setting page
Tap here to enter Dimming/ Timer setting page
Identification On/Off control
Default Configuration setting for loading same setting at multiple Street Lights
Modification Required in App
Geo location to be used with GPS
To be changed to “Save” instead of “Load Default Configuration”
Modifications
To be changed to “Load Default Configuration” instead of “save”

## Slide 13
Configuration Setting
Dimming/Timer Setting
Tap here to enter Dimming/ Timer setting page
Predefined Dimming percentages settings can be scrolled
Predefined Timer duration settings can be adjusted
Modification Required in App
6Hrs
6Hrs
Full Bright 100%
Dimming 50% after 6hrs
Timer Dial to be changed to slide adjustment for Duration adjustment
Slider Adjustment

## Slide 14
Street Light Parameters
Battery Parameters
Toggle switch to be removed for Charging or discharging mode
To be removed from all pages
Modification Required in App

## Slide 15
Street Light Parameters
Street Light Parameters
CONFIGURATION
Pole No. :
Location :
Wattage :
Dimming :
1234
Peenya
12W
50% after
6hrs
Configuration Details to be Added
To be moved to top left corner
Modification Required in App